Supplementary Software

Codes for

- Calculating mean square displacement (MSD) result of provided trajectory.

- Generating fitted MSD colored curve.

- Generating particle velocity versus frame interval colored curves.

License

All code was written by Shu-Lin Liu, Copyright 2022. This set of programs is designed in the hope that it will be useful. You can use it and/or modify it for your research, but not for commercial purposes.

Installation requirements

All codes were written by Matlab software. It has been tested on Matlab R2009a. It can run under Windows 32-bit and 64-bit.

To run the codes:

- Place the MSD.Figure and MSD.m files in one folder;

- Open the MSD.Figure file, a panel will pop up;

- Click the ‘Load position’ button, load an excel file with trajectory x and y coordinates in the new pop-up window. Note that the x and y coordinates are placed in two parallel columns;

- Click the ‘Load image’ button, load a confocal (or brightfield) image to display the colored trajectory;

- Define the required parameters, including pixel size of the camera used (μm) and imaging frame interval (s).

- Click ‘Measure MSD’ button, a window will pop up that displays the MSD results;

- Click the ‘Save MSD’ button, the MSD results will be saved out;

- Click the ‘Color trajectory’ button, a window will pop up that displays the trajectory on the image with color bar;

- Click the ‘Color velocity’ button, a window will pop up that displays colored velocity of the trajectory;

- Save the results from step 8 and 9.