## Sheet1
15
3
1.5
0.3
0.15
KAPA LTP library prep adapter calculation
Complete the tables below to calculate the pool volumes:
Insert extra rows to the table as needed
Fill in the fragment size (bp) and ng in reaction (yellow columns)
Note: if fragment size not known etimate it to be 350 bp
Note: ng in reaction is the estimated ng in 14 μl A-tail reaction.
The sample and adapter pmol will autocalculate
Adjust the Adapter conc to use (green column) so that the volumes (blue columns) are easily pipettable
| Sample name | Tube number/Position | Average size (bp) | ng in reaction | sample pmol | adapter pmol | Adapter conc to use (μM) | Adapter (μl) | water (μl)
|  | A1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | B1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | C1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | D1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | E1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | F1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | G1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | H1 |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!