384-PG Bravo Instructions:

General Quadrant Layouts:

384-Plate 01:

A1 = Standards+extra

A2 = Library 01

B1 = Library 02

B2 = Library 03

384-Plate 02:

A1 = Library 04

A2 = Library 05

B1 = AMP 06

B2 = AMP 07

384-Plate 03:

A1 = AMP 08

A2 = AMP 09

B1 = AMP 10

B2 = Empty / Extra

Deck layout on page 2 -

Deck Layout:

- Setup the instrument according to the deck layout above.

- Open the appropriate 384-TE or 384-PG dispense protocol.

  - TE is always prefaced by BV-008

  - PG is always prefaced by BV-009

- Select the correct number of quadrants from the pulldown menu.

- Follow the onscreen prompts, removing and sealing the 384-well plate once the protocol completes.