## NGS primer design
Primer label | primer name | primer (binds gDNA) | stub type (F, R) | full name | stubbed primer (5' -> 3') | length (bp)
1 | test1 | nnnnnnnnnnnn | F | 1_test1 | CTTTCCCTACACGACGCTCTTCCGATCTnnnnnnnnnnnn | 40
2 | test2 | nnnnnnnnnnnn | R | 2_test2 | GGAGTTCAGACGTGTGCTCTTCCGATCTnnnnnnnnnnnn | 40
3 | test3 | nnnnnnnnnnnn | R | 3_test3 | GGAGTTCAGACGTGTGCTCTTCCGATCTnnnnnnnnnnnn | 40
4 |  | nnn | F | 4_ | CTTTCCCTACACGACGCTCTTCCGATCTnnn | 31
5 |  | nnn | R | 5_ | GGAGTTCAGACGTGTGCTCTTCCGATCTnnn | 31
FILLED IN AUTOMATICALLY - do not change
R = reverse = Illumina adapter P7 |  | Step 1 | Step 2 |  | Step 3
F = forward = Illumina adapter P5 |  | Enter amplicon specific primer here | Choose F/R |  | ORDER sequence

## PCR MM with Q5
PCR 1 |  | # Samples | 7
Thermal cycling protocol
Reagent | Volume [µl] | MasterMix |  | Step | Temperature °C | Time [sec]
5X Q5 Reaction Buffer | 10 | 77 |  | Initial Denaturation | 98 | 30
dNTPs [10 mM] | 1 | 7.7 |  | Denaturation | 98 | 10
Q5 High-Fidelity DNA Polymerase [2U/µl] | 0.5 | 3.85 |  | Annealing | variable * | 15
Forward primer + Stubber [10µM] | 1.5 | 11.55 |  | Extension | 65-72 | 60
Reverse primer + Stubber [10µM] | 1.5 | 11.55 |  | Final Extension | 65-72 | 300
gDNA (100ng) | 10 |  |  | Hold | 12 | hold
Nuclease-Free Water | 25.5 | 196.35 |  | Lid 105°C
total | 50 |  |  | Cycles: 30-36 ¦ *use NEB calculator
Purify with 0.8x of Beads and elute in 30µl of EB/water
PCR 2 |  | # Samples | 7
Thermal cycling protocol
Reagent | Volume [µl] | MasterMix |  | Step | Temperature °C | Time [sec]
5X Q5 Reaction Buffer | 10 | 77 |  | Initial Denaturation | 98 | 120
dNTPs [10 mM] | 1 | 7.7 |  | Denaturation | 98 | 10
Q5 High-Fidelity DNA Polymerase [2U/µl] | 0.5 | 3.85 |  | Annealing | 65 | 15
Illumina i7 (10µM) | 5 | individual |  | Extension | 72 | 60
Illumina i5 [10µM] | 5 |  |  | Final Extension | 72 | 300
PCR 1 product (10-20ng) | 25 |  |  | Hold | 12 | hold
Nuclease-Free Water | 3.5 | 26.95 |  | Lid 105°C
total | 50 |  |  | Cycles: 6-8
Purify your PCR products with 0.8X of beads and elute in 30 µl of EB/water

## PCR 2 Barcodes ORDER
Order Barcode Sequences (* indicates PTO)
| Name | Sequence 5' - 3' | index read_NovaSeq, MiSeq
Set 1 | i5-01_NEBNext | AATGATACGGCGACCACCGAGATCTACACTATAGCCTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | TATAGCCT
| i5-02_NEBNext | AATGATACGGCGACCACCGAGATCTACACATAGAGGCACACTCTTTCCCTACACGACGCTCTTCCGATC*T | ATAGAGGC
| i5-03_NEBNext | AATGATACGGCGACCACCGAGATCTACACCCTATCCTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | CCTATCCT
| i5-04_NEBNext | AATGATACGGCGACCACCGAGATCTACACGGCTCTGAACACTCTTTCCCTACACGACGCTCTTCCGATC*T | GGCTCTGA
| i5-05_NEBNext | AATGATACGGCGACCACCGAGATCTACACAGGCGAAGACACTCTTTCCCTACACGACGCTCTTCCGATC*T | AGGCGAAG
| i5-06_NEBNext | AATGATACGGCGACCACCGAGATCTACACTAATCTTAACACTCTTTCCCTACACGACGCTCTTCCGATC*T | TAATCTTA
| i5-07_NEBNext | AATGATACGGCGACCACCGAGATCTACACCAGGACGTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | CAGGACGT
| i5-08_NEBNext | AATGATACGGCGACCACCGAGATCTACACGTACTGACACACTCTTTCCCTACACGACGCTCTTCCGATC*T | GTACTGAC
Set 2 | i5-09_NEBNext | AATGATACGGCGACCACCGAGATCTACACTTGCTTGCACACTCTTTCCCTACACGACGCTCTTCCGATC*T | TTGCTTGC
| i5-10_NEBNext | AATGATACGGCGACCACCGAGATCTACACGAGAGGTTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | GAGAGGTT
| i5-11_NEBNext | AATGATACGGCGACCACCGAGATCTACACACCTGGTTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | ACCTGGTT
| i5-12_NEBNext | AATGATACGGCGACCACCGAGATCTACACAAGCGGAAACACTCTTTCCCTACACGACGCTCTTCCGATC*T | AAGCGGAA
| i5-13_NEBNext | AATGATACGGCGACCACCGAGATCTACACCGGAACAAACACTCTTTCCCTACACGACGCTCTTCCGATC*T | CGGAACAA
| i5-14_NEBNext | AATGATACGGCGACCACCGAGATCTACACGGTAAGCTACACTCTTTCCCTACACGACGCTCTTCCGATC*T | GGTAAGCT
| i5-15_NEBNext | AATGATACGGCGACCACCGAGATCTACACTGTGGCATACACTCTTTCCCTACACGACGCTCTTCCGATC*T | TGTGGCAT
| i5-16_NEBNext | AATGATACGGCGACCACCGAGATCTACACACTACGGAACACTCTTTCCCTACACGACGCTCTTCCGATC*T | ACTACGGA
Set 1 | i7-01_NEBNext | CAAGCAGAAGACGGCATACGAGATCGAGTAATGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | ATTACTCG
| i7-02_NEBNext | CAAGCAGAAGACGGCATACGAGATTCTCCGGAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TCCGGAGA
| i7-03_NEBNext | CAAGCAGAAGACGGCATACGAGATAATGAGCGGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | CGCTCATT
| i7-04_NEBNext | CAAGCAGAAGACGGCATACGAGATGGAATCTCGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | GAGATTCC
| i7-05_NEBNext | CAAGCAGAAGACGGCATACGAGATTTCTGAATGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | ATTCAGAA
| i7-06_NEBNext | CAAGCAGAAGACGGCATACGAGATACGAATTCGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | GAATTCGT
| i7-07_NEBNext | CAAGCAGAAGACGGCATACGAGATAGCTTCAGGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | CTGAAGCT
| i7-08_NEBNext | CAAGCAGAAGACGGCATACGAGATGCGCATTAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TAATGCGC
| i7-09_NEBNext | CAAGCAGAAGACGGCATACGAGATCATAGCCGGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | CGGCTATG
| i7-10_NEBNext | CAAGCAGAAGACGGCATACGAGATTTCGCGGAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TCCGCGAA
| i7-11_NEBNext | CAAGCAGAAGACGGCATACGAGATGCGCGAGAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TCTCGCGC
| i7-12_NEBNext | CAAGCAGAAGACGGCATACGAGATCTATCGCTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AGCGATAG
Set 2 | i7-13_NEBNext | CAAGCAGAAGACGGCATACGAGATAGGAGGAAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TTCCTCCT
| i7-14_NEBNext | CAAGCAGAAGACGGCATACGAGATAGCAAGCAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TGCTTGCT
| i7-15_NEBNext | CAAGCAGAAGACGGCATACGAGATTCATCACCGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | GGTGATGA
| i7-16_NEBNext | CAAGCAGAAGACGGCATACGAGATCGTAGGTTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AACCTACG
| i7-17_NEBNext | CAAGCAGAAGACGGCATACGAGATTCAGATCCGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | GGATCTGA
| i7-18_NEBNext | CAAGCAGAAGACGGCATACGAGATCGTGATCAGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | TGATCACG
| i7-19_NEBNext | CAAGCAGAAGACGGCATACGAGATAGTCGCTTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AAGCGACT
| i7-20_NEBNext | CAAGCAGAAGACGGCATACGAGATGAACGCTTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AAGCGTTC
| i7-21_NEBNext | CAAGCAGAAGACGGCATACGAGATTACGCCTTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AAGGCGTA
| i7-22_NEBNext | CAAGCAGAAGACGGCATACGAGATCTCATCAGGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | CTGATGAG
| i7-23_NEBNext | CAAGCAGAAGACGGCATACGAGATTCTTCTGCGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | GCAGAAGA
| i7-24_NEBNext | CAAGCAGAAGACGGCATACGAGATGCTGGATTGTGACTGGAGTTCAGACGTGTGCTCTTCCGATC*T | AATCCAGC
Combine Barcode sequences in premixed plates --> 384 barcode combinations

## PCR 2 Barcodes
Combo. Name / Well position | i5 primer | i7 primer | i7 index | i5 index | Barcode Set
1_A1 | i501 | i701 | ATTACTCG | TATAGCCT | 1
1_A2 | i501 | i702 | TCCGGAGA | TATAGCCT | 1
1_A3 | i501 | i703 | CGCTCATT | TATAGCCT | 1
1_A4 | i501 | i704 | GAGATTCC | TATAGCCT | 1
1_A5 | i501 | i705 | ATTCAGAA | TATAGCCT | 1
1_A6 | i501 | i706 | GAATTCGT | TATAGCCT | 1
1_A7 | i501 | i707 | CTGAAGCT | TATAGCCT | 1
1_A8 | i501 | i708 | TAATGCGC | TATAGCCT | 1
1_A9 | i501 | i709 | CGGCTATG | TATAGCCT | 1
1_A10 | i501 | i710 | TCCGCGAA | TATAGCCT | 1
1_A11 | i501 | i711 | TCTCGCGC | TATAGCCT | 1
1_A12 | i501 | i712 | AGCGATAG | TATAGCCT | 1
1_B1 | i502 | i701 | ATTACTCG | ATAGAGGC | 1
1_B2 | i502 | i702 | TCCGGAGA | ATAGAGGC | 1
1_B3 | i502 | i703 | CGCTCATT | ATAGAGGC | 1
1_B4 | i502 | i704 | GAGATTCC | ATAGAGGC | 1
1_B5 | i502 | i705 | ATTCAGAA | ATAGAGGC | 1
1_B6 | i502 | i706 | GAATTCGT | ATAGAGGC | 1
1_B7 | i502 | i707 | CTGAAGCT | ATAGAGGC | 1
1_B8 | i502 | i708 | TAATGCGC | ATAGAGGC | 1
1_B9 | i502 | i709 | CGGCTATG | ATAGAGGC | 1
1_B10 | i502 | i710 | TCCGCGAA | ATAGAGGC | 1
1_B11 | i502 | i711 | TCTCGCGC | ATAGAGGC | 1
1_B12 | i502 | i712 | AGCGATAG | ATAGAGGC | 1
1_C1 | i503 | i701 | ATTACTCG | CCTATCCT | 1
1_C2 | i503 | i702 | TCCGGAGA | CCTATCCT | 1
1_C3 | i503 | i703 | CGCTCATT | CCTATCCT | 1
1_C4 | i503 | i704 | GAGATTCC | CCTATCCT | 1
1_C5 | i503 | i705 | ATTCAGAA | CCTATCCT | 1
1_C6 | i503 | i706 | GAATTCGT | CCTATCCT | 1
1_C7 | i503 | i707 | CTGAAGCT | CCTATCCT | 1
1_C8 | i503 | i708 | TAATGCGC | CCTATCCT | 1
1_C9 | i503 | i709 | CGGCTATG | CCTATCCT | 1
1_C10 | i503 | i710 | TCCGCGAA | CCTATCCT | 1
1_C11 | i503 | i711 | TCTCGCGC | CCTATCCT | 1
1_C12 | i503 | i712 | AGCGATAG | CCTATCCT | 1
1_D1 | i504 | i701 | ATTACTCG | GGCTCTGA | 1
1_D2 | i504 | i702 | TCCGGAGA | GGCTCTGA | 1
1_D3 | i504 | i703 | CGCTCATT | GGCTCTGA | 1
1_D4 | i504 | i704 | GAGATTCC | GGCTCTGA | 1
1_D5 | i504 | i705 | ATTCAGAA | GGCTCTGA | 1
1_D6 | i504 | i706 | GAATTCGT | GGCTCTGA | 1
1_D7 | i504 | i707 | CTGAAGCT | GGCTCTGA | 1
1_D8 | i504 | i708 | TAATGCGC | GGCTCTGA | 1
1_D9 | i504 | i709 | CGGCTATG | GGCTCTGA | 1
1_D10 | i504 | i710 | TCCGCGAA | GGCTCTGA | 1
1_D11 | i504 | i711 | TCTCGCGC | GGCTCTGA | 1
1_D12 | i504 | i712 | AGCGATAG | GGCTCTGA | 1
1_E1 | i505 | i701 | ATTACTCG | AGGCGAAG | 1
1_E2 | i505 | i702 | TCCGGAGA | AGGCGAAG | 1
1_E3 | i505 | i703 | CGCTCATT | AGGCGAAG | 1
1_E4 | i505 | i704 | GAGATTCC | AGGCGAAG | 1
1_E5 | i505 | i705 | ATTCAGAA | AGGCGAAG | 1
1_E6 | i505 | i706 | GAATTCGT | AGGCGAAG | 1
1_E7 | i505 | i707 | CTGAAGCT | AGGCGAAG | 1
1_E8 | i505 | i708 | TAATGCGC | AGGCGAAG | 1
1_E9 | i505 | i709 | CGGCTATG | AGGCGAAG | 1
1_E10 | i505 | i710 | TCCGCGAA | AGGCGAAG | 1
1_E11 | i505 | i711 | TCTCGCGC | AGGCGAAG | 1
1_E12 | i505 | i712 | AGCGATAG | AGGCGAAG | 1
1_F1 | i506 | i701 | ATTACTCG | TAATCTTA | 1
1_F2 | i506 | i702 | TCCGGAGA | TAATCTTA | 1
1_F3 | i506 | i703 | CGCTCATT | TAATCTTA | 1
1_F4 | i506 | i704 | GAGATTCC | TAATCTTA | 1
1_F5 | i506 | i705 | ATTCAGAA | TAATCTTA | 1
1_F6 | i506 | i706 | GAATTCGT | TAATCTTA | 1
1_F7 | i506 | i707 | CTGAAGCT | TAATCTTA | 1
1_F8 | i506 | i708 | TAATGCGC | TAATCTTA | 1
1_F9 | i506 | i709 | CGGCTATG | TAATCTTA | 1
1_F10 | i506 | i710 | TCCGCGAA | TAATCTTA | 1
1_F11 | i506 | i711 | TCTCGCGC | TAATCTTA | 1
1_F12 | i506 | i712 | AGCGATAG | TAATCTTA | 1
1_G1 | i507 | i701 | ATTACTCG | CAGGACGT | 1
1_G2 | i507 | i702 | TCCGGAGA | CAGGACGT | 1
1_G3 | i507 | i703 | CGCTCATT | CAGGACGT | 1
1_G4 | i507 | i704 | GAGATTCC | CAGGACGT | 1
1_G5 | i507 | i705 | ATTCAGAA | CAGGACGT | 1
1_G6 | i507 | i706 | GAATTCGT | CAGGACGT | 1
1_G7 | i507 | i707 | CTGAAGCT | CAGGACGT | 1
1_G8 | i507 | i708 | TAATGCGC | CAGGACGT | 1
1_G9 | i507 | i709 | CGGCTATG | CAGGACGT | 1
1_G10 | i507 | i710 | TCCGCGAA | CAGGACGT | 1
1_G11 | i507 | i711 | TCTCGCGC | CAGGACGT | 1
1_G12 | i507 | i712 | AGCGATAG | CAGGACGT | 1
1_H1 | i508 | i701 | ATTACTCG | GTACTGAC | 1
1_H2 | i508 | i702 | TCCGGAGA | GTACTGAC | 1
1_H3 | i508 | i703 | CGCTCATT | GTACTGAC | 1
1_H4 | i508 | i704 | GAGATTCC | GTACTGAC | 1
1_H5 | i508 | i705 | ATTCAGAA | GTACTGAC | 1
1_H6 | i508 | i706 | GAATTCGT | GTACTGAC | 1
1_H7 | i508 | i707 | CTGAAGCT | GTACTGAC | 1
1_H8 | i508 | i708 | TAATGCGC | GTACTGAC | 1
1_H9 | i508 | i709 | CGGCTATG | GTACTGAC | 1
1_H10 | i508 | i710 | TCCGCGAA | GTACTGAC | 1
1_H11 | i508 | i711 | TCTCGCGC | GTACTGAC | 1
1_H12 | i508 | i712 | AGCGATAG | GTACTGAC | 1
2_A1 | i509 | i713 | TTCCTCCT | TTGCTTGC | 2
2_A2 | i509 | i714 | TGCTTGCT | TTGCTTGC | 2
2_A3 | i509 | i715 | GGTGATGA | TTGCTTGC | 2
2_A4 | i509 | i716 | AACCTACG | TTGCTTGC | 2
2_A5 | i509 | i717 | GGATCTGA | TTGCTTGC | 2
2_A6 | i509 | i718 | TGATCACG | TTGCTTGC | 2
2_A7 | i509 | i719 | AAGCGACT | TTGCTTGC | 2
2_A8 | i509 | i720 | AAGCGTTC | TTGCTTGC | 2
2_A9 | i509 | i721 | AAGGCGTA | TTGCTTGC | 2
2_A10 | i509 | i722 | CTGATGAG | TTGCTTGC | 2
2_A11 | i509 | i723 | GCAGAAGA | TTGCTTGC | 2
2_A12 | i509 | i724 | AATCCAGC | TTGCTTGC | 2
2_B1 | i510 | i713 | TTCCTCCT | GAGAGGTT | 2
2_B2 | i510 | i714 | TGCTTGCT | GAGAGGTT | 2
2_B3 | i510 | i715 | GGTGATGA | GAGAGGTT | 2
2_B4 | i510 | i716 | AACCTACG | GAGAGGTT | 2
2_B5 | i510 | i717 | GGATCTGA | GAGAGGTT | 2
2_B6 | i510 | i718 | TGATCACG | GAGAGGTT | 2
2_B7 | i510 | i719 | AAGCGACT | GAGAGGTT | 2
2_B8 | i510 | i720 | AAGCGTTC | GAGAGGTT | 2
2_B9 | i510 | i721 | AAGGCGTA | GAGAGGTT | 2
2_B10 | i510 | i722 | CTGATGAG | GAGAGGTT | 2
2_B11 | i510 | i723 | GCAGAAGA | GAGAGGTT | 2
2_B12 | i510 | i724 | AATCCAGC | GAGAGGTT | 2
2_C1 | i511 | i713 | TTCCTCCT | ACCTGGTT | 2
2_C2 | i511 | i714 | TGCTTGCT | ACCTGGTT | 2
2_C3 | i511 | i715 | GGTGATGA | ACCTGGTT | 2
2_C4 | i511 | i716 | AACCTACG | ACCTGGTT | 2
2_C5 | i511 | i717 | GGATCTGA | ACCTGGTT | 2
2_C6 | i511 | i718 | TGATCACG | ACCTGGTT | 2
2_C7 | i511 | i719 | AAGCGACT | ACCTGGTT | 2
2_C8 | i511 | i720 | AAGCGTTC | ACCTGGTT | 2
2_C9 | i511 | i721 | AAGGCGTA | ACCTGGTT | 2
2_C10 | i511 | i722 | CTGATGAG | ACCTGGTT | 2
2_C11 | i511 | i723 | GCAGAAGA | ACCTGGTT | 2
2_C12 | i511 | i724 | AATCCAGC | ACCTGGTT | 2
2_D1 | i512 | i713 | TTCCTCCT | AAGCGGAA | 2
2_D2 | i512 | i714 | TGCTTGCT | AAGCGGAA | 2
2_D3 | i512 | i715 | GGTGATGA | AAGCGGAA | 2
2_D4 | i512 | i716 | AACCTACG | AAGCGGAA | 2
2_D5 | i512 | i717 | GGATCTGA | AAGCGGAA | 2
2_D6 | i512 | i718 | TGATCACG | AAGCGGAA | 2
2_D7 | i512 | i719 | AAGCGACT | AAGCGGAA | 2
2_D8 | i512 | i720 | AAGCGTTC | AAGCGGAA | 2
2_D9 | i512 | i721 | AAGGCGTA | AAGCGGAA | 2
2_D10 | i512 | i722 | CTGATGAG | AAGCGGAA | 2
2_D11 | i512 | i723 | GCAGAAGA | AAGCGGAA | 2
2_D12 | i512 | i724 | AATCCAGC | AAGCGGAA | 2
2_E1 | i513 | i713 | TTCCTCCT | CGGAACAA | 2
2_E2 | i513 | i714 | TGCTTGCT | CGGAACAA | 2
2_E3 | i513 | i715 | GGTGATGA | CGGAACAA | 2
2_E4 | i513 | i716 | AACCTACG | CGGAACAA | 2
2_E5 | i513 | i717 | GGATCTGA | CGGAACAA | 2
2_E6 | i513 | i718 | TGATCACG | CGGAACAA | 2
2_E7 | i513 | i719 | AAGCGACT | CGGAACAA | 2
2_E8 | i513 | i720 | AAGCGTTC | CGGAACAA | 2
2_E9 | i513 | i721 | AAGGCGTA | CGGAACAA | 2
2_E10 | i513 | i722 | CTGATGAG | CGGAACAA | 2
2_E11 | i513 | i723 | GCAGAAGA | CGGAACAA | 2
2_E12 | i513 | i724 | AATCCAGC | CGGAACAA | 2
2_F1 | i514 | i713 | TTCCTCCT | GGTAAGCT | 2
2_F2 | i514 | i714 | TGCTTGCT | GGTAAGCT | 2
2_F3 | i514 | i715 | GGTGATGA | GGTAAGCT | 2
2_F4 | i514 | i716 | AACCTACG | GGTAAGCT | 2
2_F5 | i514 | i717 | GGATCTGA | GGTAAGCT | 2
2_F6 | i514 | i718 | TGATCACG | GGTAAGCT | 2
2_F7 | i514 | i719 | AAGCGACT | GGTAAGCT | 2
2_F8 | i514 | i720 | AAGCGTTC | GGTAAGCT | 2
2_F9 | i514 | i721 | AAGGCGTA | GGTAAGCT | 2
2_F10 | i514 | i722 | CTGATGAG | GGTAAGCT | 2
2_F11 | i514 | i723 | GCAGAAGA | GGTAAGCT | 2
2_F12 | i514 | i724 | AATCCAGC | GGTAAGCT | 2
2_G1 | i515 | i713 | TTCCTCCT | TGTGGCAT | 2
2_G2 | i515 | i714 | TGCTTGCT | TGTGGCAT | 2
2_G3 | i515 | i715 | GGTGATGA | TGTGGCAT | 2
2_G4 | i515 | i716 | AACCTACG | TGTGGCAT | 2
2_G5 | i515 | i717 | GGATCTGA | TGTGGCAT | 2
2_G6 | i515 | i718 | TGATCACG | TGTGGCAT | 2
2_G7 | i515 | i719 | AAGCGACT | TGTGGCAT | 2
2_G8 | i515 | i720 | AAGCGTTC | TGTGGCAT | 2
2_G9 | i515 | i721 | AAGGCGTA | TGTGGCAT | 2
2_G10 | i515 | i722 | CTGATGAG | TGTGGCAT | 2
2_G11 | i515 | i723 | GCAGAAGA | TGTGGCAT | 2
2_G12 | i515 | i724 | AATCCAGC | TGTGGCAT | 2
2_H1 | i516 | i713 | TTCCTCCT | ACTACGGA | 2
2_H2 | i516 | i714 | TGCTTGCT | ACTACGGA | 2
2_H3 | i516 | i715 | GGTGATGA | ACTACGGA | 2
2_H4 | i516 | i716 | AACCTACG | ACTACGGA | 2
2_H5 | i516 | i717 | GGATCTGA | ACTACGGA | 2
2_H6 | i516 | i718 | TGATCACG | ACTACGGA | 2
2_H7 | i516 | i719 | AAGCGACT | ACTACGGA | 2
2_H8 | i516 | i720 | AAGCGTTC | ACTACGGA | 2
2_H9 | i516 | i721 | AAGGCGTA | ACTACGGA | 2
2_H10 | i516 | i722 | CTGATGAG | ACTACGGA | 2
2_H11 | i516 | i723 | GCAGAAGA | ACTACGGA | 2
2_H12 | i516 | i724 | AATCCAGC | ACTACGGA | 2
3_A1 | i501 | i713 | TTCCTCCT | TATAGCCT | 3
3_A2 | i501 | i714 | TGCTTGCT | TATAGCCT | 3
3_A3 | i501 | i715 | GGTGATGA | TATAGCCT | 3
3_A4 | i501 | i716 | AACCTACG | TATAGCCT | 3
3_A5 | i501 | i717 | GGATCTGA | TATAGCCT | 3
3_A6 | i501 | i718 | TGATCACG | TATAGCCT | 3
3_A7 | i501 | i719 | AAGCGACT | TATAGCCT | 3
3_A8 | i501 | i720 | AAGCGTTC | TATAGCCT | 3
3_A9 | i501 | i721 | AAGGCGTA | TATAGCCT | 3
3_A10 | i501 | i722 | CTGATGAG | TATAGCCT | 3
3_A11 | i501 | i723 | GCAGAAGA | TATAGCCT | 3
3_A12 | i501 | i724 | AATCCAGC | TATAGCCT | 3
3_B1 | i502 | i713 | TTCCTCCT | ATAGAGGC | 3
3_B2 | i502 | i714 | TGCTTGCT | ATAGAGGC | 3
3_B3 | i502 | i715 | GGTGATGA | ATAGAGGC | 3
3_B4 | i502 | i716 | AACCTACG | ATAGAGGC | 3
3_B5 | i502 | i717 | GGATCTGA | ATAGAGGC | 3
3_B6 | i502 | i718 | TGATCACG | ATAGAGGC | 3
3_B7 | i502 | i719 | AAGCGACT | ATAGAGGC | 3
3_B8 | i502 | i720 | AAGCGTTC | ATAGAGGC | 3
3_B9 | i502 | i721 | AAGGCGTA | ATAGAGGC | 3
3_B10 | i502 | i722 | CTGATGAG | ATAGAGGC | 3
3_B11 | i502 | i723 | GCAGAAGA | ATAGAGGC | 3
3_B12 | i502 | i724 | AATCCAGC | ATAGAGGC | 3
3_C1 | i503 | i713 | TTCCTCCT | CCTATCCT | 3
3_C2 | i503 | i714 | TGCTTGCT | CCTATCCT | 3
3_C3 | i503 | i715 | GGTGATGA | CCTATCCT | 3
3_C4 | i503 | i716 | AACCTACG | CCTATCCT | 3
3_C5 | i503 | i717 | GGATCTGA | CCTATCCT | 3
3_C6 | i503 | i718 | TGATCACG | CCTATCCT | 3
3_C7 | i503 | i719 | AAGCGACT | CCTATCCT | 3
3_C8 | i503 | i720 | AAGCGTTC | CCTATCCT | 3
3_C9 | i503 | i721 | AAGGCGTA | CCTATCCT | 3
3_C10 | i503 | i722 | CTGATGAG | CCTATCCT | 3
3_C11 | i503 | i723 | GCAGAAGA | CCTATCCT | 3
3_C12 | i503 | i724 | AATCCAGC | CCTATCCT | 3
3_D1 | i504 | i713 | TTCCTCCT | GGCTCTGA | 3
3_D2 | i504 | i714 | TGCTTGCT | GGCTCTGA | 3
3_D3 | i504 | i715 | GGTGATGA | GGCTCTGA | 3
3_D4 | i504 | i716 | AACCTACG | GGCTCTGA | 3
3_D5 | i504 | i717 | GGATCTGA | GGCTCTGA | 3
3_D6 | i504 | i718 | TGATCACG | GGCTCTGA | 3
3_D7 | i504 | i719 | AAGCGACT | GGCTCTGA | 3
3_D8 | i504 | i720 | AAGCGTTC | GGCTCTGA | 3
3_D9 | i504 | i721 | AAGGCGTA | GGCTCTGA | 3
3_D10 | i504 | i722 | CTGATGAG | GGCTCTGA | 3
3_D11 | i504 | i723 | GCAGAAGA | GGCTCTGA | 3
3_D12 | i504 | i724 | AATCCAGC | GGCTCTGA | 3
3_E1 | i505 | i713 | TTCCTCCT | AGGCGAAG | 3
3_E2 | i505 | i714 | TGCTTGCT | AGGCGAAG | 3
3_E3 | i505 | i715 | GGTGATGA | AGGCGAAG | 3
3_E4 | i505 | i716 | AACCTACG | AGGCGAAG | 3
3_E5 | i505 | i717 | GGATCTGA | AGGCGAAG | 3
3_E6 | i505 | i718 | TGATCACG | AGGCGAAG | 3
3_E7 | i505 | i719 | AAGCGACT | AGGCGAAG | 3
3_E8 | i505 | i720 | AAGCGTTC | AGGCGAAG | 3
3_E9 | i505 | i721 | AAGGCGTA | AGGCGAAG | 3
3_E10 | i505 | i722 | CTGATGAG | AGGCGAAG | 3
3_E11 | i505 | i723 | GCAGAAGA | AGGCGAAG | 3
3_E12 | i505 | i724 | AATCCAGC | AGGCGAAG | 3
3_F1 | i506 | i713 | TTCCTCCT | TAATCTTA | 3
3_F2 | i506 | i714 | TGCTTGCT | TAATCTTA | 3
3_F3 | i506 | i715 | GGTGATGA | TAATCTTA | 3
3_F4 | i506 | i716 | AACCTACG | TAATCTTA | 3
3_F5 | i506 | i717 | GGATCTGA | TAATCTTA | 3
3_F6 | i506 | i718 | TGATCACG | TAATCTTA | 3
3_F7 | i506 | i719 | AAGCGACT | TAATCTTA | 3
3_F8 | i506 | i720 | AAGCGTTC | TAATCTTA | 3
3_F9 | i506 | i721 | AAGGCGTA | TAATCTTA | 3
3_F10 | i506 | i722 | CTGATGAG | TAATCTTA | 3
3_F11 | i506 | i723 | GCAGAAGA | TAATCTTA | 3
3_F12 | i506 | i724 | AATCCAGC | TAATCTTA | 3
3_G1 | i507 | i713 | TTCCTCCT | CAGGACGT | 3
3_G2 | i507 | i714 | TGCTTGCT | CAGGACGT | 3
3_G3 | i507 | i715 | GGTGATGA | CAGGACGT | 3
3_G4 | i507 | i716 | AACCTACG | CAGGACGT | 3
3_G5 | i507 | i717 | GGATCTGA | CAGGACGT | 3
3_G6 | i507 | i718 | TGATCACG | CAGGACGT | 3
3_G7 | i507 | i719 | AAGCGACT | CAGGACGT | 3
3_G8 | i507 | i720 | AAGCGTTC | CAGGACGT | 3
3_G9 | i507 | i721 | AAGGCGTA | CAGGACGT | 3
3_G10 | i507 | i722 | CTGATGAG | CAGGACGT | 3
3_G11 | i507 | i723 | GCAGAAGA | CAGGACGT | 3
3_G12 | i507 | i724 | AATCCAGC | CAGGACGT | 3
3_H1 | i508 | i713 | TTCCTCCT | GTACTGAC | 3
3_H2 | i508 | i714 | TGCTTGCT | GTACTGAC | 3
3_H3 | i508 | i715 | GGTGATGA | GTACTGAC | 3
3_H4 | i508 | i716 | AACCTACG | GTACTGAC | 3
3_H5 | i508 | i717 | GGATCTGA | GTACTGAC | 3
3_H6 | i508 | i718 | TGATCACG | GTACTGAC | 3
3_H7 | i508 | i719 | AAGCGACT | GTACTGAC | 3
3_H8 | i508 | i720 | AAGCGTTC | GTACTGAC | 3
3_H9 | i508 | i721 | AAGGCGTA | GTACTGAC | 3
3_H10 | i508 | i722 | CTGATGAG | GTACTGAC | 3
3_H11 | i508 | i723 | GCAGAAGA | GTACTGAC | 3
3_H12 | i508 | i724 | AATCCAGC | GTACTGAC | 3
4_A1 | i509 | i701 | ATTACTCG | TTGCTTGC | 4
4_A2 | i509 | i702 | TCCGGAGA | TTGCTTGC | 4
4_A3 | i509 | i703 | CGCTCATT | TTGCTTGC | 4
4_A4 | i509 | i704 | GAGATTCC | TTGCTTGC | 4
4_A5 | i509 | i705 | ATTCAGAA | TTGCTTGC | 4
4_A6 | i509 | i706 | GAATTCGT | TTGCTTGC | 4
4_A7 | i509 | i707 | CTGAAGCT | TTGCTTGC | 4
4_A8 | i509 | i708 | TAATGCGC | TTGCTTGC | 4
4_A9 | i509 | i709 | CGGCTATG | TTGCTTGC | 4
4_A10 | i509 | i710 | TCCGCGAA | TTGCTTGC | 4
4_A11 | i509 | i711 | TCTCGCGC | TTGCTTGC | 4
4_A12 | i509 | i712 | AGCGATAG | TTGCTTGC | 4
4_B1 | i510 | i701 | ATTACTCG | GAGAGGTT | 4
4_B2 | i510 | i702 | TCCGGAGA | GAGAGGTT | 4
4_B3 | i510 | i703 | CGCTCATT | GAGAGGTT | 4
4_B4 | i510 | i704 | GAGATTCC | GAGAGGTT | 4
4_B5 | i510 | i705 | ATTCAGAA | GAGAGGTT | 4
4_B6 | i510 | i706 | GAATTCGT | GAGAGGTT | 4
4_B7 | i510 | i707 | CTGAAGCT | GAGAGGTT | 4
4_B8 | i510 | i708 | TAATGCGC | GAGAGGTT | 4
4_B9 | i510 | i709 | CGGCTATG | GAGAGGTT | 4
4_B10 | i510 | i710 | TCCGCGAA | GAGAGGTT | 4
4_B11 | i510 | i711 | TCTCGCGC | GAGAGGTT | 4
4_B12 | i510 | i712 | AGCGATAG | GAGAGGTT | 4
4_C1 | i511 | i701 | ATTACTCG | ACCTGGTT | 4
4_C2 | i511 | i702 | TCCGGAGA | ACCTGGTT | 4
4_C3 | i511 | i703 | CGCTCATT | ACCTGGTT | 4
4_C4 | i511 | i704 | GAGATTCC | ACCTGGTT | 4
4_C5 | i511 | i705 | ATTCAGAA | ACCTGGTT | 4
4_C6 | i511 | i706 | GAATTCGT | ACCTGGTT | 4
4_C7 | i511 | i707 | CTGAAGCT | ACCTGGTT | 4
4_C8 | i511 | i708 | TAATGCGC | ACCTGGTT | 4
4_C9 | i511 | i709 | CGGCTATG | ACCTGGTT | 4
4_C10 | i511 | i710 | TCCGCGAA | ACCTGGTT | 4
4_C11 | i511 | i711 | TCTCGCGC | ACCTGGTT | 4
4_C12 | i511 | i712 | AGCGATAG | ACCTGGTT | 4
4_D1 | i512 | i701 | ATTACTCG | AAGCGGAA | 4
4_D2 | i512 | i702 | TCCGGAGA | AAGCGGAA | 4
4_D3 | i512 | i703 | CGCTCATT | AAGCGGAA | 4
4_D4 | i512 | i704 | GAGATTCC | AAGCGGAA | 4
4_D5 | i512 | i705 | ATTCAGAA | AAGCGGAA | 4
4_D6 | i512 | i706 | GAATTCGT | AAGCGGAA | 4
4_D7 | i512 | i707 | CTGAAGCT | AAGCGGAA | 4
4_D8 | i512 | i708 | TAATGCGC | AAGCGGAA | 4
4_D9 | i512 | i709 | CGGCTATG | AAGCGGAA | 4
4_D10 | i512 | i710 | TCCGCGAA | AAGCGGAA | 4
4_D11 | i512 | i711 | TCTCGCGC | AAGCGGAA | 4
4_D12 | i512 | i712 | AGCGATAG | AAGCGGAA | 4
4_E1 | i513 | i701 | ATTACTCG | CGGAACAA | 4
4_E2 | i513 | i702 | TCCGGAGA | CGGAACAA | 4
4_E3 | i513 | i703 | CGCTCATT | CGGAACAA | 4
4_E4 | i513 | i704 | GAGATTCC | CGGAACAA | 4
4_E5 | i513 | i705 | ATTCAGAA | CGGAACAA | 4
4_E6 | i513 | i706 | GAATTCGT | CGGAACAA | 4
4_E7 | i513 | i707 | CTGAAGCT | CGGAACAA | 4
4_E8 | i513 | i708 | TAATGCGC | CGGAACAA | 4
4_E9 | i513 | i709 | CGGCTATG | CGGAACAA | 4
4_E10 | i513 | i710 | TCCGCGAA | CGGAACAA | 4
4_E11 | i513 | i711 | TCTCGCGC | CGGAACAA | 4
4_E12 | i513 | i712 | AGCGATAG | CGGAACAA | 4
4_F1 | i514 | i701 | ATTACTCG | GGTAAGCT | 4
4_F2 | i514 | i702 | TCCGGAGA | GGTAAGCT | 4
4_F3 | i514 | i703 | CGCTCATT | GGTAAGCT | 4
4_F4 | i514 | i704 | GAGATTCC | GGTAAGCT | 4
4_F5 | i514 | i705 | ATTCAGAA | GGTAAGCT | 4
4_F6 | i514 | i706 | GAATTCGT | GGTAAGCT | 4
4_F7 | i514 | i707 | CTGAAGCT | GGTAAGCT | 4
4_F8 | i514 | i708 | TAATGCGC | GGTAAGCT | 4
4_F9 | i514 | i709 | CGGCTATG | GGTAAGCT | 4
4_F10 | i514 | i710 | TCCGCGAA | GGTAAGCT | 4
4_F11 | i514 | i711 | TCTCGCGC | GGTAAGCT | 4
4_F12 | i514 | i712 | AGCGATAG | GGTAAGCT | 4
4_G1 | i515 | i701 | ATTACTCG | TGTGGCAT | 4
4_G2 | i515 | i702 | TCCGGAGA | TGTGGCAT | 4
4_G3 | i515 | i703 | CGCTCATT | TGTGGCAT | 4
4_G4 | i515 | i704 | GAGATTCC | TGTGGCAT | 4
4_G5 | i515 | i705 | ATTCAGAA | TGTGGCAT | 4
4_G6 | i515 | i706 | GAATTCGT | TGTGGCAT | 4
4_G7 | i515 | i707 | CTGAAGCT | TGTGGCAT | 4
4_G8 | i515 | i708 | TAATGCGC | TGTGGCAT | 4
4_G9 | i515 | i709 | CGGCTATG | TGTGGCAT | 4
4_G10 | i515 | i710 | TCCGCGAA | TGTGGCAT | 4
4_G11 | i515 | i711 | TCTCGCGC | TGTGGCAT | 4
4_G12 | i515 | i712 | AGCGATAG | TGTGGCAT | 4
4_H1 | i516 | i701 | ATTACTCG | ACTACGGA | 4
4_H2 | i516 | i702 | TCCGGAGA | ACTACGGA | 4
4_H3 | i516 | i703 | CGCTCATT | ACTACGGA | 4
4_H4 | i516 | i704 | GAGATTCC | ACTACGGA | 4
4_H5 | i516 | i705 | ATTCAGAA | ACTACGGA | 4
4_H6 | i516 | i706 | GAATTCGT | ACTACGGA | 4
4_H7 | i516 | i707 | CTGAAGCT | ACTACGGA | 4
4_H8 | i516 | i708 | TAATGCGC | ACTACGGA | 4
4_H9 | i516 | i709 | CGGCTATG | ACTACGGA | 4
4_H10 | i516 | i710 | TCCGCGAA | ACTACGGA | 4
4_H11 | i516 | i711 | TCTCGCGC | ACTACGGA | 4
4_H12 | i516 | i712 | AGCGATAG | ACTACGGA | 4

## Pooling Calculations
Step 1: Estimate molar concentration |  |  |  | Step 2: Prepare the Pool for Sequencing (equimolar)
1.) Enter Amplicon length |  | 330 | bp | Concentration of each sample | 10 | nM
2.) Estimate Amplicon concentration (purified product) |  |  |  | Volume of each sample | 5 | µl
|  |  |  | SUM H2O | 0.1345 | µl
Sample | Qubit [ng/ul] | Amplicon length [bp] | Qubit [nM] | Sample | Input Sample µl | Input H2O µl
sample 1 | 1 | 330 | 4.5914 | sample 1 | 10.89 | -5.89
sample 2 | 2 | 330 | 9.1827 | sample 2 | 5.445 | -0.445
sample 3 | 3 | 330 | 13.7741 | sample 3 | 3.63 | 1.37
sample 4 | 4 | 330 | 18.3655 | sample 4 | 2.7225 | 2.2775
sample 5 | 5 | 330 | 22.9568 | sample 5 | 2.178 | 2.822
sample 6 |  | 330 | 0 | sample 6 | #DIV/0! | #DIV/0!
sample 7 |  | 330 | 0 | sample 7 | #DIV/0! | #DIV/0!
sample 8 |  | 330 | 0 | sample 8 | #DIV/0! | #DIV/0!
sample 9 |  | 330 | 0 | sample 9 | #DIV/0! | #DIV/0!
sample 10 |  | 330 | 0 | sample 10 | #DIV/0! | #DIV/0!
sample 11 |  | 330 | 0 | sample 11 | #DIV/0! | #DIV/0!
sample 12 |  | 330 | 0 | sample 12 | #DIV/0! | #DIV/0!
sample 13 |  | 330 | 0 | sample 13 | #DIV/0! | #DIV/0!
sample 14 |  | 330 | 0 | sample 14 | #DIV/0! | #DIV/0!
sample 15 |  | 330 | 0 | sample 15 | #DIV/0! | #DIV/0!
sample 16 |  | 330 | 0 | sample 16 | #DIV/0! | #DIV/0!
sample 17 |  | 330 | 0 | sample 17 | #DIV/0! | #DIV/0!
sample 18 |  | 330 | 0 | sample 18 | #DIV/0! | #DIV/0!
sample 19 |  | 330 | 0 | sample 19 | #DIV/0! | #DIV/0!
sample 20 |  | 330 | 0 | sample 20 | #DIV/0! | #DIV/0!
sample 21 |  | 330 | 0 | sample 21 | #DIV/0! | #DIV/0!
sample 22 |  | 330 | 0 | sample 22 | #DIV/0! | #DIV/0!
sample 23 |  | 330 | 0 | sample 23 | #DIV/0! | #DIV/0!
sample 24 |  | 330 | 0 | sample 24 | #DIV/0! | #DIV/0!
sample 25 |  | 330 | 0 | sample 25 | #DIV/0! | #DIV/0!
sample 26 |  | 330 | 0 | sample 26 | #DIV/0! | #DIV/0!
sample 27 |  | 330 | 0 | sample 27 | #DIV/0! | #DIV/0!
sample 28 |  | 330 | 0 | sample 28 | #DIV/0! | #DIV/0!
sample 29 |  | 330 | 0 | sample 29 | #DIV/0! | #DIV/0!
sample 30 |  | 330 | 0 | sample 30 | #DIV/0! | #DIV/0!
sample 31 |  | 330 | 0 | sample 31 | #DIV/0! | #DIV/0!
sample 32 |  | 330 | 0 | sample 32 | #DIV/0! | #DIV/0!
sample 33 |  | 330 | 0 | sample 33 | #DIV/0! | #DIV/0!
sample 34 |  | 330 | 0 | sample 34 | #DIV/0! | #DIV/0!
sample 35 |  | 330 | 0 | sample 35 | #DIV/0! | #DIV/0!
sample 36 |  | 330 | 0 | sample 36 | #DIV/0! | #DIV/0!
sample 37 |  | 330 | 0 | sample 37 | #DIV/0! | #DIV/0!
sample 38 |  | 330 | 0 | sample 38 | #DIV/0! | #DIV/0!
sample 39 |  | 330 | 0 | sample 39 | #DIV/0! | #DIV/0!
sample 40 |  | 330 | 0 | sample 40 | #DIV/0! | #DIV/0!
sample 41 |  | 330 | 0 | sample 41 | #DIV/0! | #DIV/0!
sample 42 |  | 330 | 0 | sample 42 | #DIV/0! | #DIV/0!
sample 43 |  | 330 | 0 | sample 43 | #DIV/0! | #DIV/0!
sample 44 |  | 330 | 0 | sample 44 | #DIV/0! | #DIV/0!
sample 45 |  | 330 | 0 | sample 45 | #DIV/0! | #DIV/0!
sample 46 |  | 330 | 0 | sample 46 | #DIV/0! | #DIV/0!
sample 47 |  | 330 | 0 | sample 47 | #DIV/0! | #DIV/0!
sample 48 |  | 330 | 0 | sample 48 | #DIV/0! | #DIV/0!
sample 49 |  | 330 | 0 | sample 49 | #DIV/0! | #DIV/0!
sample 50 |  | 330 | 0 | sample 50 | #DIV/0! | #DIV/0!
sample 51 |  | 330 | 0 | sample 51 | #DIV/0! | #DIV/0!
sample 52 |  | 330 | 0 | sample 52 | #DIV/0! | #DIV/0!
sample 53 |  | 330 | 0 | sample 53 | #DIV/0! | #DIV/0!
sample 54 |  | 330 | 0 | sample 54 | #DIV/0! | #DIV/0!
sample 55 |  | 330 | 0 | sample 55 | #DIV/0! | #DIV/0!
sample 56 |  | 330 | 0 | sample 56 | #DIV/0! | #DIV/0!
sample 57 |  | 330 | 0 | sample 57 | #DIV/0! | #DIV/0!
sample 58 |  | 330 | 0 | sample 58 | #DIV/0! | #DIV/0!
sample 59 |  | 330 | 0 | sample 59 | #DIV/0! | #DIV/0!
sample 60 |  | 330 | 0 | sample 60 | #DIV/0! | #DIV/0!
sample 61 |  | 330 | 0 | sample 61 | #DIV/0! | #DIV/0!
sample 62 |  | 330 | 0 | sample 62 | #DIV/0! | #DIV/0!
sample 63 |  | 330 | 0 | sample 63 | #DIV/0! | #DIV/0!
sample 64 |  | 330 | 0 | sample 64 | #DIV/0! | #DIV/0!
sample 65 |  | 330 | 0 | sample 65 | #DIV/0! | #DIV/0!
sample 66 |  | 330 | 0 | sample 66 | #DIV/0! | #DIV/0!
sample 67 |  | 330 | 0 | sample 67 | #DIV/0! | #DIV/0!
sample 68 |  | 330 | 0 | sample 68 | #DIV/0! | #DIV/0!
sample 69 |  | 330 | 0 | sample 69 | #DIV/0! | #DIV/0!
sample 70 |  | 330 | 0 | sample 70 | #DIV/0! | #DIV/0!
sample 71 |  | 330 | 0 | sample 71 | #DIV/0! | #DIV/0!
sample 72 |  | 330 | 0 | sample 72 | #DIV/0! | #DIV/0!
sample 73 |  | 330 | 0 | sample 73 | #DIV/0! | #DIV/0!
sample 74 |  | 330 | 0 | sample 74 | #DIV/0! | #DIV/0!
sample 75 |  | 330 | 0 | sample 75 | #DIV/0! | #DIV/0!
sample 76 |  | 330 | 0 | sample 76 | #DIV/0! | #DIV/0!
sample 77 |  | 330 | 0 | sample 77 | #DIV/0! | #DIV/0!
sample 78 |  | 330 | 0 | sample 78 | #DIV/0! | #DIV/0!
sample 79 |  | 330 | 0 | sample 79 | #DIV/0! | #DIV/0!
sample 80 |  | 330 | 0 | sample 80 | #DIV/0! | #DIV/0!
sample 81 |  | 330 | 0 | sample 81 | #DIV/0! | #DIV/0!
sample 82 |  | 330 | 0 | sample 82 | #DIV/0! | #DIV/0!
sample 83 |  | 330 | 0 | sample 83 | #DIV/0! | #DIV/0!
sample 84 |  | 330 | 0 | sample 84 | #DIV/0! | #DIV/0!
sample 85 |  | 330 | 0 | sample 85 | #DIV/0! | #DIV/0!
sample 86 |  | 330 | 0 | sample 86 | #DIV/0! | #DIV/0!
sample 87 |  | 330 | 0 | sample 87 | #DIV/0! | #DIV/0!
sample 88 |  | 330 | 0 | sample 88 | #DIV/0! | #DIV/0!
sample 89 |  | 330 | 0 | sample 89 | #DIV/0! | #DIV/0!
sample 90 |  | 330 | 0 | sample 90 | #DIV/0! | #DIV/0!
sample 91 |  | 330 | 0 | sample 91 | #DIV/0! | #DIV/0!
sample 92 |  | 330 | 0 | sample 92 | #DIV/0! | #DIV/0!
sample 93 |  | 330 | 0 | sample 93 | #DIV/0! | #DIV/0!
sample 94 |  | 330 | 0 | sample 94 | #DIV/0! | #DIV/0!
sample 95 |  | 330 | 0 | sample 95 | #DIV/0! | #DIV/0!
sample 96 |  | 330 | 0 | sample 96 | #DIV/0! | #DIV/0!
sample 97 |  | 330 | 0 | sample 97 | #DIV/0! | #DIV/0!
sample 98 |  | 330 | 0 | sample 98 | #DIV/0! | #DIV/0!
sample 99 |  | 330 | 0 | sample 99 | #DIV/0! | #DIV/0!
sample 100 |  | 330 | 0 | sample 100 | #DIV/0! | #DIV/0!
sample 101 |  | 330 | 0 | sample 101 | #DIV/0! | #DIV/0!
sample 102 |  | 330 | 0 | sample 102 | #DIV/0! | #DIV/0!
sample 103 |  | 330 | 0 | sample 103 | #DIV/0! | #DIV/0!
sample 104 |  | 330 | 0 | sample 104 | #DIV/0! | #DIV/0!
sample 105 |  | 330 | 0 | sample 105 | #DIV/0! | #DIV/0!
sample 106 |  | 330 | 0 | sample 106 | #DIV/0! | #DIV/0!
sample 107 |  | 330 | 0 | sample 107 | #DIV/0! | #DIV/0!
sample 108 |  | 330 | 0 | sample 108 | #DIV/0! | #DIV/0!
sample 109 |  | 330 | 0 | sample 109 | #DIV/0! | #DIV/0!
sample 110 |  | 330 | 0 | sample 110 | #DIV/0! | #DIV/0!
sample 111 |  | 330 | 0 | sample 111 | #DIV/0! | #DIV/0!
sample 112 |  | 330 | 0 | sample 112 | #DIV/0! | #DIV/0!
sample 113 |  | 330 | 0 | sample 113 | #DIV/0! | #DIV/0!
sample 114 |  | 330 | 0 | sample 114 | #DIV/0! | #DIV/0!
sample 115 |  | 330 | 0 | sample 115 | #DIV/0! | #DIV/0!
sample 116 |  | 330 | 0 | sample 116 | #DIV/0! | #DIV/0!
sample 117 |  | 330 | 0 | sample 117 | #DIV/0! | #DIV/0!
sample 118 |  | 330 | 0 | sample 118 | #DIV/0! | #DIV/0!
sample 119 |  | 330 | 0 | sample 119 | #DIV/0! | #DIV/0!
sample 120 |  | 330 | 0 | sample 120 | #DIV/0! | #DIV/0!
sample 121 |  | 330 | 0 | sample 121 | #DIV/0! | #DIV/0!
sample 122 |  | 330 | 0 | sample 122 | #DIV/0! | #DIV/0!
sample 123 |  | 330 | 0 | sample 123 | #DIV/0! | #DIV/0!
sample 124 |  | 330 | 0 | sample 124 | #DIV/0! | #DIV/0!
sample 125 |  | 330 | 0 | sample 125 | #DIV/0! | #DIV/0!
sample 126 |  | 330 | 0 | sample 126 | #DIV/0! | #DIV/0!
sample 127 |  | 330 | 0 | sample 127 | #DIV/0! | #DIV/0!
sample 128 |  | 330 | 0 | sample 128 | #DIV/0! | #DIV/0!
sample 129 |  | 330 | 0 | sample 129 | #DIV/0! | #DIV/0!
sample 130 |  | 330 | 0 | sample 130 | #DIV/0! | #DIV/0!
sample 131 |  | 330 | 0 | sample 131 | #DIV/0! | #DIV/0!
sample 132 |  | 330 | 0 | sample 132 | #DIV/0! | #DIV/0!
sample 133 |  | 330 | 0 | sample 133 | #DIV/0! | #DIV/0!
sample 134 |  | 330 | 0 | sample 134 | #DIV/0! | #DIV/0!
sample 135 |  | 330 | 0 | sample 135 | #DIV/0! | #DIV/0!
sample 136 |  | 330 | 0 | sample 136 | #DIV/0! | #DIV/0!
sample 137 |  | 330 | 0 | sample 137 | #DIV/0! | #DIV/0!
sample 138 |  | 330 | 0 | sample 138 | #DIV/0! | #DIV/0!
sample 139 |  | 330 | 0 | sample 139 | #DIV/0! | #DIV/0!
sample 140 |  | 330 | 0 | sample 140 | #DIV/0! | #DIV/0!
sample 141 |  | 330 | 0 | sample 141 | #DIV/0! | #DIV/0!
sample 142 |  | 330 | 0 | sample 142 | #DIV/0! | #DIV/0!
sample 143 |  | 330 | 0 | sample 143 | #DIV/0! | #DIV/0!
sample 144 |  | 330 | 0 | sample 144 | #DIV/0! | #DIV/0!
sample 145 |  | 330 | 0 | sample 145 | #DIV/0! | #DIV/0!
sample 146 |  | 330 | 0 | sample 146 | #DIV/0! | #DIV/0!
sample 147 |  | 330 | 0 | sample 147 | #DIV/0! | #DIV/0!
sample 148 |  | 330 | 0 | sample 148 | #DIV/0! | #DIV/0!
sample 149 |  | 330 | 0 | sample 149 | #DIV/0! | #DIV/0!
sample 150 |  | 330 | 0 | sample 150 | #DIV/0! | #DIV/0!
sample 151 |  | 330 | 0 | sample 151 | #DIV/0! | #DIV/0!
sample 152 |  | 330 | 0 | sample 152 | #DIV/0! | #DIV/0!
sample 153 |  | 330 | 0 | sample 153 | #DIV/0! | #DIV/0!
sample 154 |  | 330 | 0 | sample 154 | #DIV/0! | #DIV/0!
sample 155 |  | 330 | 0 | sample 155 | #DIV/0! | #DIV/0!
sample 156 |  | 330 | 0 | sample 156 | #DIV/0! | #DIV/0!
sample 157 |  | 330 | 0 | sample 157 | #DIV/0! | #DIV/0!
sample 158 |  | 330 | 0 | sample 158 | #DIV/0! | #DIV/0!
sample 159 |  | 330 | 0 | sample 159 | #DIV/0! | #DIV/0!
sample 160 |  | 330 | 0 | sample 160 | #DIV/0! | #DIV/0!
sample 161 |  | 330 | 0 | sample 161 | #DIV/0! | #DIV/0!
sample 162 |  | 330 | 0 | sample 162 | #DIV/0! | #DIV/0!
sample 163 |  | 330 | 0 | sample 163 | #DIV/0! | #DIV/0!
sample 164 |  | 330 | 0 | sample 164 | #DIV/0! | #DIV/0!
sample 165 |  | 330 | 0 | sample 165 | #DIV/0! | #DIV/0!
sample 166 |  | 330 | 0 | sample 166 | #DIV/0! | #DIV/0!
sample 167 |  | 330 | 0 | sample 167 | #DIV/0! | #DIV/0!
sample 168 |  | 330 | 0 | sample 168 | #DIV/0! | #DIV/0!
sample 169 |  | 330 | 0 | sample 169 | #DIV/0! | #DIV/0!
sample 170 |  | 330 | 0 | sample 170 | #DIV/0! | #DIV/0!
sample 171 |  | 330 | 0 | sample 171 | #DIV/0! | #DIV/0!
sample 172 |  | 330 | 0 | sample 172 | #DIV/0! | #DIV/0!
sample 173 |  | 330 | 0 | sample 173 | #DIV/0! | #DIV/0!
sample 174 |  | 330 | 0 | sample 174 | #DIV/0! | #DIV/0!
sample 175 |  | 330 | 0 | sample 175 | #DIV/0! | #DIV/0!
sample 176 |  | 330 | 0 | sample 176 | #DIV/0! | #DIV/0!
sample 177 |  | 330 | 0 | sample 177 | #DIV/0! | #DIV/0!
sample 178 |  | 330 | 0 | sample 178 | #DIV/0! | #DIV/0!
sample 179 |  | 330 | 0 | sample 179 | #DIV/0! | #DIV/0!
sample 180 |  | 330 | 0 | sample 180 | #DIV/0! | #DIV/0!
sample 181 |  | 330 | 0 | sample 181 | #DIV/0! | #DIV/0!
sample 182 |  | 330 | 0 | sample 182 | #DIV/0! | #DIV/0!
sample 183 |  | 330 | 0 | sample 183 | #DIV/0! | #DIV/0!
sample 184 |  | 330 | 0 | sample 184 | #DIV/0! | #DIV/0!
sample 185 |  | 330 | 0 | sample 185 | #DIV/0! | #DIV/0!
sample 186 |  | 330 | 0 | sample 186 | #DIV/0! | #DIV/0!
sample 187 |  | 330 | 0 | sample 187 | #DIV/0! | #DIV/0!
sample 188 |  | 330 | 0 | sample 188 | #DIV/0! | #DIV/0!
sample 189 |  | 330 | 0 | sample 189 | #DIV/0! | #DIV/0!
sample 190 |  | 330 | 0 | sample 190 | #DIV/0! | #DIV/0!
sample 191 |  | 330 | 0 | sample 191 | #DIV/0! | #DIV/0!
sample 192 |  | 330 | 0 | sample 192 | #DIV/0! | #DIV/0!
sample 193 |  | 330 | 0 | sample 193 | #DIV/0! | #DIV/0!
sample 194 |  | 330 | 0 | sample 194 | #DIV/0! | #DIV/0!
sample 195 |  | 330 | 0 | sample 195 | #DIV/0! | #DIV/0!
sample 196 |  | 330 | 0 | sample 196 | #DIV/0! | #DIV/0!
sample 197 |  | 330 | 0 | sample 197 | #DIV/0! | #DIV/0!
sample 198 |  | 330 | 0 | sample 198 | #DIV/0! | #DIV/0!
sample 199 |  | 330 | 0 | sample 199 | #DIV/0! | #DIV/0!
sample 200 |  | 330 | 0 | sample 200 | #DIV/0! | #DIV/0!
sample 201 |  | 330 | 0 | sample 201 | #DIV/0! | #DIV/0!
sample 202 |  | 330 | 0 | sample 202 | #DIV/0! | #DIV/0!
sample 203 |  | 330 | 0 | sample 203 | #DIV/0! | #DIV/0!
sample 204 |  | 330 | 0 | sample 204 | #DIV/0! | #DIV/0!
sample 205 |  | 330 | 0 | sample 205 | #DIV/0! | #DIV/0!
sample 206 |  | 330 | 0 | sample 206 | #DIV/0! | #DIV/0!
sample 207 |  | 330 | 0 | sample 207 | #DIV/0! | #DIV/0!
sample 208 |  | 330 | 0 | sample 208 | #DIV/0! | #DIV/0!
sample 209 |  | 330 | 0 | sample 209 | #DIV/0! | #DIV/0!
sample 210 |  | 330 | 0 | sample 210 | #DIV/0! | #DIV/0!
sample 211 |  | 330 | 0 | sample 211 | #DIV/0! | #DIV/0!
sample 212 |  | 330 | 0 | sample 212 | #DIV/0! | #DIV/0!
sample 213 |  | 330 | 0 | sample 213 | #DIV/0! | #DIV/0!
sample 214 |  | 330 | 0 | sample 214 | #DIV/0! | #DIV/0!
sample 215 |  | 330 | 0 | sample 215 | #DIV/0! | #DIV/0!
sample 216 |  | 330 | 0 | sample 216 | #DIV/0! | #DIV/0!
sample 217 |  | 330 | 0 | sample 217 | #DIV/0! | #DIV/0!
sample 218 |  | 330 | 0 | sample 218 | #DIV/0! | #DIV/0!
sample 219 |  | 330 | 0 | sample 219 | #DIV/0! | #DIV/0!
sample 220 |  | 330 | 0 | sample 220 | #DIV/0! | #DIV/0!
sample 221 |  | 330 | 0 | sample 221 | #DIV/0! | #DIV/0!
sample 222 |  | 330 | 0 | sample 222 | #DIV/0! | #DIV/0!
sample 223 |  | 330 | 0 | sample 223 | #DIV/0! | #DIV/0!
sample 224 |  | 330 | 0 | sample 224 | #DIV/0! | #DIV/0!
sample 225 |  | 330 | 0 | sample 225 | #DIV/0! | #DIV/0!
sample 226 |  | 330 | 0 | sample 226 | #DIV/0! | #DIV/0!
sample 227 |  | 330 | 0 | sample 227 | #DIV/0! | #DIV/0!
sample 228 |  | 330 | 0 | sample 228 | #DIV/0! | #DIV/0!
sample 229 |  | 330 | 0 | sample 229 | #DIV/0! | #DIV/0!
sample 230 |  | 330 | 0 | sample 230 | #DIV/0! | #DIV/0!
sample 231 |  | 330 | 0 | sample 231 | #DIV/0! | #DIV/0!
sample 232 |  | 330 | 0 | sample 232 | #DIV/0! | #DIV/0!
sample 233 |  | 330 | 0 | sample 233 | #DIV/0! | #DIV/0!
sample 234 |  | 330 | 0 | sample 234 | #DIV/0! | #DIV/0!
sample 235 |  | 330 | 0 | sample 235 | #DIV/0! | #DIV/0!
sample 236 |  | 330 | 0 | sample 236 | #DIV/0! | #DIV/0!
sample 237 |  | 330 | 0 | sample 237 | #DIV/0! | #DIV/0!
sample 238 |  | 330 | 0 | sample 238 | #DIV/0! | #DIV/0!
sample 239 |  | 330 | 0 | sample 239 | #DIV/0! | #DIV/0!
sample 240 |  | 330 | 0 | sample 240 | #DIV/0! | #DIV/0!
sample 241 |  | 330 | 0 | sample 241 | #DIV/0! | #DIV/0!
sample 242 |  | 330 | 0 | sample 242 | #DIV/0! | #DIV/0!
sample 243 |  | 330 | 0 | sample 243 | #DIV/0! | #DIV/0!
sample 244 |  | 330 | 0 | sample 244 | #DIV/0! | #DIV/0!
sample 245 |  | 330 | 0 | sample 245 | #DIV/0! | #DIV/0!
sample 246 |  | 330 | 0 | sample 246 | #DIV/0! | #DIV/0!
sample 247 |  | 330 | 0 | sample 247 | #DIV/0! | #DIV/0!
sample 248 |  | 330 | 0 | sample 248 | #DIV/0! | #DIV/0!
sample 249 |  | 330 | 0 | sample 249 | #DIV/0! | #DIV/0!
sample 250 |  | 330 | 0 | sample 250 | #DIV/0! | #DIV/0!
sample 251 |  | 330 | 0 | sample 251 | #DIV/0! | #DIV/0!
sample 252 |  | 330 | 0 | sample 252 | #DIV/0! | #DIV/0!
sample 253 |  | 330 | 0 | sample 253 | #DIV/0! | #DIV/0!
sample 254 |  | 330 | 0 | sample 254 | #DIV/0! | #DIV/0!
sample 255 |  | 330 | 0 | sample 255 | #DIV/0! | #DIV/0!
sample 256 |  | 330 | 0 | sample 256 | #DIV/0! | #DIV/0!
sample 257 |  | 330 | 0 | sample 257 | #DIV/0! | #DIV/0!
sample 258 |  | 330 | 0 | sample 258 | #DIV/0! | #DIV/0!
sample 259 |  | 330 | 0 | sample 259 | #DIV/0! | #DIV/0!
sample 260 |  | 330 | 0 | sample 260 | #DIV/0! | #DIV/0!
sample 261 |  | 330 | 0 | sample 261 | #DIV/0! | #DIV/0!
sample 262 |  | 330 | 0 | sample 262 | #DIV/0! | #DIV/0!
sample 263 |  | 330 | 0 | sample 263 | #DIV/0! | #DIV/0!
sample 264 |  | 330 | 0 | sample 264 | #DIV/0! | #DIV/0!
sample 265 |  | 330 | 0 | sample 265 | #DIV/0! | #DIV/0!
sample 266 |  | 330 | 0 | sample 266 | #DIV/0! | #DIV/0!
sample 267 |  | 330 | 0 | sample 267 | #DIV/0! | #DIV/0!
sample 268 |  | 330 | 0 | sample 268 | #DIV/0! | #DIV/0!
sample 269 |  | 330 | 0 | sample 269 | #DIV/0! | #DIV/0!
sample 270 |  | 330 | 0 | sample 270 | #DIV/0! | #DIV/0!
sample 271 |  | 330 | 0 | sample 271 | #DIV/0! | #DIV/0!
sample 272 |  | 330 | 0 | sample 272 | #DIV/0! | #DIV/0!
sample 273 |  | 330 | 0 | sample 273 | #DIV/0! | #DIV/0!
sample 274 |  | 330 | 0 | sample 274 | #DIV/0! | #DIV/0!
sample 275 |  | 330 | 0 | sample 275 | #DIV/0! | #DIV/0!
sample 276 |  | 330 | 0 | sample 276 | #DIV/0! | #DIV/0!
sample 277 |  | 330 | 0 | sample 277 | #DIV/0! | #DIV/0!
sample 278 |  | 330 | 0 | sample 278 | #DIV/0! | #DIV/0!
sample 279 |  | 330 | 0 | sample 279 | #DIV/0! | #DIV/0!
sample 280 |  | 330 | 0 | sample 280 | #DIV/0! | #DIV/0!
sample 281 |  | 330 | 0 | sample 281 | #DIV/0! | #DIV/0!
sample 282 |  | 330 | 0 | sample 282 | #DIV/0! | #DIV/0!
sample 283 |  | 330 | 0 | sample 283 | #DIV/0! | #DIV/0!
sample 284 |  | 330 | 0 | sample 284 | #DIV/0! | #DIV/0!
sample 285 |  | 330 | 0 | sample 285 | #DIV/0! | #DIV/0!
sample 286 |  | 330 | 0 | sample 286 | #DIV/0! | #DIV/0!
sample 287 |  | 330 | 0 | sample 287 | #DIV/0! | #DIV/0!
sample 288 |  | 330 | 0 | sample 288 | #DIV/0! | #DIV/0!
sample 289 |  | 330 | 0 | sample 289 | #DIV/0! | #DIV/0!
sample 290 |  | 330 | 0 | sample 290 | #DIV/0! | #DIV/0!
sample 291 |  | 330 | 0 | sample 291 | #DIV/0! | #DIV/0!
sample 292 |  | 330 | 0 | sample 292 | #DIV/0! | #DIV/0!
sample 293 |  | 330 | 0 | sample 293 | #DIV/0! | #DIV/0!
sample 294 |  | 330 | 0 | sample 294 | #DIV/0! | #DIV/0!
sample 295 |  | 330 | 0 | sample 295 | #DIV/0! | #DIV/0!
sample 296 |  | 330 | 0 | sample 296 | #DIV/0! | #DIV/0!
sample 297 |  | 330 | 0 | sample 297 | #DIV/0! | #DIV/0!
sample 298 |  | 330 | 0 | sample 298 | #DIV/0! | #DIV/0!
sample 299 |  | 330 | 0 | sample 299 | #DIV/0! | #DIV/0!
sample 300 |  | 330 | 0 | sample 300 | #DIV/0! | #DIV/0!
[5 empty] | SUM H2O | 0.1345