## Template
Variable | Value
Grow OD
Vol Transfer Colony (uL)
Vol Transfer Water (uL)
Vol Transfer Glycerol (uL)
Antibiotic Transposition Genome File Name
Antibiotic Ampiciline Plasmid File Name
Final Map Name
Name Pipette Left Mount
Name Pipette Right Mount
Starting tip Left Pipette
Starting tip Right Pipette
Name Source Plate
Name Final Plate
Name Rack Falcon 15mL
Number of Glycerol Plates
Number of PCR Plates
Replace Tiprack

## VariablesExplanation
Variable | Type of Value | Description | Value Comment
Grow OD | Number | Value of OD to be considered that a sample has grown
Vol Transfer Colony (uL) | Number | Volume to transfer to each well of all final plates (Glycerol and PCR)
Vol Transfer Water (uL) | Number | Volume to transfer to each well of Glycerol Plates
Vol Transfer Glycerol (uL) | Number | Volume to transfer to each well of Final PCR plates
Antibiotic Transposition Genome File Name | String | OD values of antibiotic in which the cells should grow to be selected A sample to be selected has to have in this file a value lower than the GrowOD value | Must be a .csv file Name without extension
Antibiotic Ampiciline Plasmid File Name | String | OD values of antibiotic in which the cells should not grow in order to be selected A sample to be selected has to have in this file a value lower than the GrowOD value | Must be a .csv file Name without extension
Final Map Name | String | Map name The map will contain the identities of the samplesthat the script has selected | Without the file extension
Name Pipette Left Mount | String | API name of the pipette in the left mount
Name Pipette Right Mount | String | API name of the pipette in the right mount
Starting tip Left Pipette | String | First available tip in the first tiprack assigned to the right pipette, all other tipracks are assumed to be full
Starting tip Right Pipette | String | First available tip in the first tiprack assigned to the left pipette, all other tipracks are assumed to be full
Name Source Plate | String | API name of the source plates
Name Final Plate | String | API name of the final plates
Name Rack Falcon 15mL | String | API name of the 15mL falcon tuberack
Number of Glycerol Plates | Number | Number of plates that will contain glycerol+sample
Number of PCR Plates | Number | Number of plates that will contain water+sample
Replace Tiprack | Boolean | You will have minimum as many tiprack types as types of pipettes you will have all tipracks from the beginning in the deck | Only True or False

## Example
Variable | Value
Grow OD | 0.07
Vol Transfer Colony (uL) | 25
Vol Transfer Water (uL) | 75
Vol Transfer Glycerol (uL) | 25
Antibiotic Transposition Genome File Name | M9Cit_ant_Lib5T4T
Antibiotic Ampiciline Plasmid File Name | M9Cit_amp_Lib5T4T
Final Map Name | map_lib1_exampleColonieScreening
Name Pipette Left Mount | p300_single_gen2
Name Pipette Right Mount | p20_single_gen2
Starting tip Left Pipette | A5
Starting tip Right Pipette | A5
Name Source Plate | vwrblueprintdepth105_96_wellplate_390ul
Name Final Plate | vwrblueprintdepth105_96_wellplate_390ul
Name Rack Falcon 15mL | opentrons_15_tuberack_falcon_15ml_conical
Number of Glycerol Plates | 2
Number of PCR Plates | 1
Replace Tiprack | False