10% Tween 20

- Scope: Tween 20, when added to aqueous solutions acts as a surfactant, decreasing the surface tension of the solution. It also punches holes in membranes, allowing easier penetration of macromolecules into cells and organelles, and reduces non-specific binding of antisera in immunohistochemistry.

- Materials:

  - MilliQ water

  - Tween 20 (VWR 80503-492 or equivalent)

- Equipment:

  - Labeled RNase free 1 L container (Corning CLS430518 or equivalent)

  - Sterile 50 mL serological pipette

  - Pipettor

  - Stir plate

  - RNase free stir bar

  - Magnetic stir bar remover

  - Graduated cylinder (1 L)

- Safety:

  - Gloves

  - Eye protection

  - Lab Coat

Personal Protective Equipment (PPE) should be used at all times while operating this protocol. If you are unsure what PPE you should be using, see your immediate supervisor.

- Output:

  - 10% Tween 20 stock solution

Warning: This protocol is extremely sensitive to RNase contamination; ensure that you have been properly trained using sterile techniques before starting this protocol.

- Setup:

  - Obtain an RNase free 1 L container and an RNase free stir bar.

- Methodology (record all lot numbers and volumes used in the appropriate reagent prep notebook or electronic reagent tracking form):

  - To prepare 1 L of 10% Tween 20: using the graduation marks of the bottle or a 1 L graduated cylinder, measure 900 mL of MilliQ water into an RNase free 1 L bottle containing an RNase free stir bar.

  - Add 100 mL of Tween 20 to the 900 mL of MilliQ water.

  - Mix thoroughly by stirring on a stir plate with at approximately 200 RPM or higher (3-5 minutes).

  - Remove the stir bar from the bottle using a magnetic stir bar remover and wrap the bottle in foil. Label with reagent name, date, and the initials of the person who prepared the solution.

- Technical Information:

  - Storage:

    - Final solution should be protected from light (foil wrapped) and stored at room temperature for up to 12 weeks.

    - 10% Tween expires after 12 weeks.

- Take Down:

  - Place empty container in plastic recycling bin.

- Disposal:

  - 10% Tween 20 may be disposed of directly down any sink and into the municipal sewer system.