0.1M Phosphate Buffer

- Scope: 0.1M Phosphate Buffer is used in the preparation of Sucrose solutions for cryoprotection.

- Materials:

  - Sodium Phosphate, dibasic, anhydrous (Na2HPO4) (Acros AC42437-5000 purchased via Fisher or equivalent).

  - Sodium Phosphate, monobasic, monohydrate (NaH2PO4 ∙ H2O) (Fisher BP330 or equivalent)

  - MilliQ Water

  - Weigh boat.

- Equipment:

  - 1 L Corning bottle.

  - Stir plate.

  - RNase free stir bar.

  - Magnetic stir bar remover.

  - 1 L filter system, 0.45 µm (Corning 431206 or equivalent) including Tygon tubing

  - Vacuum pump, bench vacuum system (Gast DOA-P104-AA or equivalent)

  - Graduated cylinder.

- Safety:

  - Gloves.

  - Eye protection.

  - Lab Coat.

Warning: Appropriate Personal Protective Equipment (PPE) should be used at all times while operating this protocol. If you are unsure what PPE you should be using, see your immediate supervisor.

- Output:

  - 0.1M Phosphate Buffer

- Reference Documents:

  - EQ0020 Balance Calibration Validation

    - To be Published

  - RP0064 30% Sucrose for Cryoprotection of Brains after Perfusions

    - https://www.protocols.io/view/30-sucrose-for-cryoprotection-of-brains-after-perf-bg5ujy6w

- Setup:

  - Obtain an RNase free 1 L bottle.

  - Place an RNase free stir bar in the bottle.

- Methodology to Prepare 1L of 0.1M Phosphate Buffer (record all lot numbers in lab notebook or electronic tracking sheet):

  - Measure out 800 mL of MilliQ water and add it to the bottle.

  - Measure 14.85 g Na2HPO4 (sodium phosphate dibasic, anhydrous) in a weigh boat, add to the bottle.

  - Measure 2.0 g NaH2PO4 (sodium phosphate monobasic, monohydrate) in a weigh boat, add to the bottle.

  - Place on a stir plate and stir at a high speed until the solution is clear.

  - Adjust final volume to 1 L with MilliQ water.

  - Filter using a 1 L Corning filter system (0.45 µm) and a vacuum pump.

  - Label 0.1M Phosphate Buffer and include the date made.

- Technical Information

  - Store at 4°C.

- Disposal:

  - Excess or unused buffer may be disposed of directly into municipal sewer system.